**Scope of Work:**

Contractor shall provide all labor and materials in order to overlay current flooring with new laminate flooring for the Louisiana Department of Public Safety at the Louisiana State Police Troop A.

**Specifications:**

All work shall be conducted at Louisiana State Police Troop A, 17801 Highland Rd, Baton Rouge, LA 70810. Requested work shall be performed on site by awarded contractor to overlay the current flooring with new laminate flooring within the common areas of Troop A. Attachment D - Floor Plan depicts in red the areas to be affected by the work. Only those areas in red are to be accessible to contractor personnel for the duration of the project.

Demolition shall be done to the existing 4” cove rubber baseboards or quarter round baseboards within the installation area. Baseboards and quarter round are to be removed prior to installation of new flooring.

Contractor shall not remove the existing floor tiles. Contractor shall install new laminate and new baseboards over the existing floor tiles using adhesive to affix where needed.

**Flooring:** Shaw LVT Planks; Luxury Vinyl Anvil Plus 20 MIL 2357V Grey Chestnut 7062 or equal; 7 ½” wide, 50.5” long planks, 7mm thick. Estimated floor square footage is 4200 ft2

**Specify Flooring Brand/Model and Color Bidding:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Transition Pieces:** Grey Chestnut 7062 or equal matching transition pieces; approximate quantity of 10.

**Specify Transition Piece Brand/Model and Color Bidding:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Baseboards:** 1/8” Gray cove or equal rubber wall baseboards; quantity of eight rolls, size 6” by 120 LNFT.

**Specify Baseboard Brand/Model and Color Bidding:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Adhesive:** Cove base adhesive or equal.

**Specify Adhesive Brand/Model and Color Bidding:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**General Notes/Terms:**

\*All supplies, materials, freight and labor are the responsibility of the awarded contractor

\*Contractor shall coordinate with the building maintenance manager during the project.

\*Contractor general work hours will be 7:30 a.m. until 4:00 p.m. Monday through Friday for the duration of the project. Due to security and safety concerns, Contractor employees will have access to the installation project area only.

\*Site Visit Contact: Lt. Joseph Nations or Lt. Jessie Shelton 225-754-8500.

\*Upon completion of work, awarded contractor shall be responsible for disposal of all trash from the installation project.