**Remove and Replace Evaporator and Compressor**

**Location:**

Prison Enterprises-Meat Packing Plant

10832 Highway 61

St. Francisville, LA 71775

**Scope of Work:**

**Contractor shall provide all labor, materials, and equipment to remove existing refrigeration units and replace with new Heatcraft Compressors and Evaporators for freezer #1 and #2.**

**Freezer #1: 7.5 HP Heatcraft Model BCH0075LCACZC0023 discus compressor, or equal, and a new Heatcraft Model BEM0300BS6EEAB0405 evaporator, or equal.**

**Specify Brand/Model of Compressor Bidding:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Specify Brand/Model of Evaporator Bidding:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Freezer #2: 4.5 HP Heatcraft Model BCH0045LCBCZ discus compressor, or equal, and a new Heatcraft Model BEL0090BS4EEA evaporator, or equal.**

**Specify Brand/Model of Compressor Bidding:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Specify Brand/Model of Evaporator Bidding:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Requirements:**

* **Contractor shall remove and dispose of one existing refrigeration unit in freezer #1 and four (4) existing refrigeration units in freezer #2. A Dumpster will not be provided.**
* **Contractor shall install one (1) new refrigeration unit in Freezer #1 with new Heatcraft Model BCH0075LCACZC0023 discus compressor and new Heatcraft Model BEM0300BS6EEAB0405 evaporators, or equal.**
* **Contractor shall install two (2) new refrigeration units with new 4.5 HP Heatcraft Model BCH0045LCBCZ discus compressor and new Heatcraft Model BEL0090BS4EEA evaporators, or equal.**
* **Contractor shall perform work in a workmanlike manner according to industry standards.**
* **Contractor shall perform start up and confirm proper operation of equipment upon completion of project agency representative present.**
* **All work shall meet current applicable codes: federal, state, and local.**
* **Warranty shall be standard warranty in which manufacturer agrees to repair or replace components of water heaters that fall in materials or workmanship within specified warranty period.**